# Long-term Thermospheric Neutral Wind Observations over the Northern Polar Cap

Q. Wu1, D. McEwen2, W. Guo2, R. J. Niciejewski3, R. G. Roble1, Y.-I. Won4

1High Altitude Observatory

National Center for Atmospheric Research

P. O. Box 3000

Boulder, Co 80307-3000

2Department of Physics and Engineering Physics,

University of Saskatchewan,

116 Science Pl., Saskatoon,

Saskatchewan, Canada S7N 5E2

3Space Physics Research Laboratory

The University of Michigan

2455 Hayward St.

Ann Arbor, Mi 48109-2143

4RSIS, Goddard Earth Science DISC
NASA Goddard Space Flight Center, Mailstop 610.2
Greenbelt, MD 20771

### Abstract

We study the solar dependence of the thermospheric dynamics based on more than 20 years observation of polar cap thermospheric wind observations from three stations: Thule (76.53°N, 68.73°W, MLAT 86N), Eureka (80.06°N, 86.4°W, MLAT 89N), and Resolute (74.72°N, 94.98°W, MLAT 84N) in combination with the National Center for Atmospheric Research Thermosphere Ionosphere Electrodynamics General Circulation Model (NCAR-TIEGCM).    All three stations show a dominant diurnal oscillation in both the meridional and zonal components, which is a manifestation of antisunward thermospheric wind in the polar cap.    The three-station observation and the TIEGCM simulation all exhibit a correlation between the antisunward thermospheric wind and solar F10.7 index.  The diurnal oscillation is stronger at Eureka than that at Resolute according to both observations and TIEGCM simulation.    The semidiurnal oscillation is stronger at Resolute than that at Eureka based on data and model results.  These results are consistent with a two-cell convection pattern in the polar cap thermosphere winds.  The Thule results are less consistent between the model and observations.   The simulated meridional wind diurnal and semidiurnal oscillations are stronger than those observed.

### 1. Introduction

The high latitude thermospheric winds are affected by the day-night pressure gradient, ion drag, and the Coriolis force.  The day-night pressure gradient is a related to the thermosphere day-night temperature difference, which is directly connected with solar activity.   Ion convection is closely controlled by the cross-polar cap potential, which is affected by the magnetosphere-ionosphere coupling.    Hence, the polar cap thermospheric winds tend manifest both solar and geomagnetic activities.    There have been numerous high latitude thermospheric wind studies in the past [e.g. Killeen et al., 1995; Meriwether et al., 1988; McCormac et al., 1984].

Won [1994] and Killeen at al. [1995] examined Thule, Greenland  Fabry-Perot interferometer (FPI) O(D) 6300 Å nightglow neutral wind data from 1985 to 1989 to study the solar and geomagnetic dependence of the thermosphere neutral winds and temperature.    They reported a strong correlation between the F10.7 index and thermospheric neutral winds.  Even though the length of the data (4 years) is shorter than a solar cycle, the underlying fact is that long term data set is hard to obtain given the harsh condition in the polar region and the effort required operating an instrument on a long term basis.

At somewhat lower latitudes, Aruliah et al. [1991; 1996] have analyzed the FPI thermospheric wind data from Kiruna, Sweden (67.8°N, 20.4°E, MLAT 65N) for solar and seasonal and geomagnetic dependences.   Probably because the latitude is lower, the changes associated with the solar F10.7 index are much smaller than these observed at Thule by Killeen et al. [1995].   At the vicinity of the Kiruna, Sweden FPI, the EISCAT incoherent scatter radar (70°N, 19°E) has been operated over a long time.  From the EISCAT radar measurement, one can deduce the thermospheric meridional winds.   Using data from January 1984 to March 1995, Witasse et al. [1998] analyzed the solar and season dependence of the meridional winds.   They extracted the diurnal and semidiurnal oscillations from the thermosphere winds and noted that the amplitude of the 24-hour oscillation in the winter season increased with the solar F10.7 index.

There are reports on thermospheric wind observations at the South Pole, Antarctica, which is on edge of the polar cap (MLAT 75S) [Hernandez et al., 1990; Hernandez et al., 1991; Smith et al. 1994].    Hernandez and Roble [2003] reported storm time observations over both South Pole and Arrival Heights (77.8°S, 166.66°E, MLAT 80S).    Arrival Heights is a polar cap observatory.   Comparisons between observations at Arrival Heights and the NCAR-TIMEGCM (Thermosphere Ionosphere Mesosphere Electrodynamics General Circulation Model) model run show mostly consistent wind patterns.    There is no analysis of long-term trends in the Arrival Heights data yet.

Other Antarctic thermospheric wind observations were made on the edge of the polar cap or lower latitudes.  For example, Conde and Dyson [1995] and Greet et al. [1999] reported thermospheric wind measurements from Mawson (67.6°S, 62.9°E, MLAT 70S) and Davis (68.6°S, 78.0°E, MLAT 74.5 S), Antarctica.   Long term analysis on these data sets has not been reported yet.

Emmert et al.  [2006a; 2006b] examined the high latitude thermospheric winds during geomagnetically quiet conditions.    They examined thermospheric winds at various latitudes.   In the northern high latitudes, they also analyzed the Thule thermospheric wind data.   An increase in the thermospheric wind due to the solar activity was clearly demonstrated from the Thule data at all local times.

Satellite observations of the thermospheric winds have provided crucial information about the morphology of the polar cap convection in connection with IMF and geomagnetic activities [Killeen et al., 1985; McCormac et al., 1985].   However, because of the relatively short data set, it is not possible to examine the solar dependence based on those satellite observations.

The mechanism for the solar activity to affect the polar cap thermosphere neutral wind is the higher day-night thermosphere temperature gradient caused by high solar UV radiation flux.   However, to obtain a more accurate assessment of the solar influence on the polar cap thermospheric neutral winds, a longer data set inside the polar cap is needed.   This information will be invaluable to future aeronomy studies in the northern polar cap related to the Advanced Modular Incoherent Scatter Radar (AMISR) in Resolute, Canada.     Long data set will provide a baseline for polar cap thermospheric wind climatology.

The goal of this paper is to combine the Thule data set from 1980’s used by Won [1994] and Killeen et al. [1995] with similar Eureka  data from the 1990’s and Resolute data from 2000’s, to examine the climatology and, perhaps, morphology of the thermospheric neutral wind over the northern polar cap.  The locations of the three stations are shown in Figure 1.  All three stations are located inside the polar cap, and Eureka has highest magnetic latitude, followed by Thule and Resolute according to the APL PACE corrected magnetic latitude calculation.    The data set expands over twenty years and cover nearly two solar cycles with some data gaps.  Figure 2 shows the solar F10.7 index and FPI coverage.  The blue is for Thule, red for Eureka, and green for Resolute.    The coverage for 90/91 winter season is small and the Thule FPI had some instrument problems, hence, the data were not used in final analysis.   While the combined data set is longer, the fact that data came from three different stations and instruments poses new challenges in data analysis and comparison.    We are hampered somewhat by the fact that we do not have time overlap between these three observations.    Nevertheless, the combined data can provide a new insight to the solar influence on the polar cap thermosphere neutral winds.

We focus on the long-term solar influence and avoid the geomagnetic effect, which   can also enhance the wind.     Another important factor is the interplanetary magnetic field (IMF) as demonstrated by Niciejewski et al. [1994].   Both the geomagnetic and IMF effects are all related to the ion drift and beyond the scope of this paper.  It will be necessary to include the ion drift data included in such analysis.  There have been many past studies of high latitude ion neutral interaction [e.g., Heelis and McEwen, 2002; Thayer et al., 1995].   The future Resolute AMISR will provide high quality ion drift data and allow more comprehensive and systematic study of the subject.

The solar influence on the polar thermosphere wind is an important relationship in understanding of solar effects on the thermosphere in general.  We should expect a seasonal effect on the thermospheric winds as well.   However, since most of the optical data were taken during long polar winter nights, these observations are not suitable for seasonal analysis.  Therefore, more attention will be given to inter-annual variations induced possibly by the solar variations.

To provide a better interpretation for the observational results, we use the NCAR-TIEGCM model [Richmond et al., 1992] to simulate the polar thermospheric winds for years when we have a good coverage during the December solstice.    Model run results can help interpret inter-station differences due to magnetic latitudinal differences.    More important, the TIEGCM may shed some light on the solar dependence of the high latitude thermosphere winds.   Conversely, comparison with observations can also help fine tuning of the model parameters.   In this paper, we used standard geomagnetic index driven TIEGCM runs based on the Heelis ion convection model [Heelis et al, 1982].  We calculate the height integrated thermospheric winds using the 6300 Å emission profiles, which are provided by the post-model processing.  More information about TIEGCM output fields and post-model processing are available from the NCAR HAO web site (http://www.hao.ucar.edu/modeling/tgcm/tgcm.html).

The paper is organized as follows:  In Section 2, we present observational results from Thule, Eureka, and Resolute.  In Section 3, the TIEGCM results are compared with observations.    Section 4 shows the derived diurnal and semidiurnal oscillations from TIEGCM and observations.  We discuss our results in Section 5 and summarize our findings in Section 6.

### 2. Observations

### 2.1 Thule Observations

Thule FPI was located at the Thule Air Force Base in Greenland.   The instrument had a pair 10.0 cm diameter etalon plates with a 12 channel image plane detector [Meriwether et al. 1988].   The integration time was determined by the signal level of the nightglow ranging from 25 to 400 seconds.   The instrument measured O 6300 Å neutral winds at the zenith and at four cardinal directions with an elevation angle of 45 degree.   The wind error on average is about 13 m/s.    More details about the instrument are provided by Meriwether et al. [1983].     The instrument was operated at Thule from 85/86 winter season until 90/91 winter season.   The survey plots of meridional and zonal wind data from 5 seasons are shown in Figure 1.    The cloudy nights have been removed.      There is a clear trend of strong diurnal variations in both the meridional and zonal components.    The local midnight is at the middle of the each panel and the local noon is on the upper and lower edge of the panel.   The meridional wind has a minimum at midnight, meaning a negative (southward) wind and a maximum at the noon (northward winds).     The diurnal variation in the zonal winds is off by 90 degrees in phase from that of the meridional diurnal variations.   This is a result of mostly antisunward wind flow being reflected on the meridional and zonal components.        The data from the 88/89 winter season stand out for stronger diurnal oscillations in both the meridional and zonal components indicating a strong antisunward flow.   The phase of this diurnal oscillation was roughly the same as that in the earlier winters.

### 2.2 Eureka Observations

Eureka is the site of the Canadian Department of Environment ASTRO (Arctic STRatospheric Ozone observatory) laboratory. The Eureka FPI had a 15 cm diameter etalon with a 20.5 mm spacing. The interferometer started it operation in the 93/94 winter season.   The instrument took measurements at four cardinal directions at 25 degree elevation angle for the OH, O 5577 Å and O 6300 Å nightglow emissions.   The instrument had an imaging photon detector until 1995.   Since 1995, the instrument used an intensified CCD detector to record the FPI fringes.  The integration time for 6300 Å emission was 4 minutes.    The entire multi-emission observation cycle took about 1 hour.  The wind error for the O 6300 Å emission was about 10 m/s. More information about the instrument is provided by Guo [2000].   Figure 1 shows Eureka data from 93/94 and 99/00 seasons with two seasons missing.   The data show consistently larger diurnal variation amplitude compared to the Thule data.  The amplitudes are comparable with that of the 88/89 Thule data.           The phase of the diurnal variation is the same as that in the Thule winds in local time.

### 2.3 Resolute Observations

Resolute is the future site of the AMISR.  A multi-emission FPI was deployed there in August 2003.    This instrument samples neutral winds at vertical and four cardinal directions (45° elevation).  The instrument has a 10 cm diameter etalon with a 2.0 cm gap.   The etalon coating has 80% reflectivity at 6300 Å.     The integration time is 5 minutes for the 6300 Å emission.   The instrument also measures O 5577 Å and OH nightglow emissions.  Because of multi-emission measurements, the entire observation cycle lasts about 1 hour.   Hence, we have two meridional (north and south) and zonal (east and west) wind component samples every hour, respectively.     The wind error for the redline ranges from 2 to 6 m/s.    The instrument has a SiTE 003 back-illuminated CCD with readout noise of 4 electrons.     The data from 03/04 to 06/07 season are shown in Figure 1.   The diurnal variation amplitude is smaller than that of Thule data.     The weather was not very favorable in Resolute compared to Thule and Eureka causing sparse data. Overall, the diurnal oscillation in the neutral winds at Resolute appears to be smaller than that at Eureka and Thule.

### 2.4 Analysis of Thermospheric Winds

By examining the survey plots of data from all stations; we noted large inter-annual variations and inter-station differences.   To quantify these variations and differences, we performed least squares fit to the all data from day 250 to day 84 of all winter seasons under clear weather condition and Kp < 2.   That time interval covers the winter season for each station as shown in earlier survey plots (Figure 3).    The selection of data of low geomagnetic activity ensures that the geomagnetic effect is not a major factor in the final results.    The least squares fitting curves and observational data are plotted in Figure 4.   The least squares fit curve consist a background wind, diurnal and semidiurnal oscillations.  The fitting is performed for both the meridional and zonal wind components.

The Thule data have fairly good local time coverage from midnight to noon.    The Eureka data coverage is even better due to good weather conditions.   The Resolute coverage is relatively sparse due to unfavorable weather condition.    The coverage near local noon is mostly absent due to the lower latitude location of the station compared to the other two stations.     At lower latitudes the sun is not far from the horizon during the local noon.   The lack of coverage in daytime during 03/04 winter season may impact the least squares fitting results.   The results of the fitting are plotted in Figure 11 along with the TIEGCM result.

### 3. NCAR TIEGCM Run and Observation Comparison

To investigate further the inter-station differences and solar dependence, we used NCAR-TIEGCM model run for 10 days around the December solstice for the years of 85, 88, 94, 99, 03, 04, 05, and 06.      The model run can provide some explanations for our observations over the last 20 years.      For those years, in which we have good solstice coverage, we plot a detailed comparison between the model output and the observations.   During the December solstice, the FPI data usually have 24 hour coverage, weather permitting.      Figure 5 shows the comparison between the TIEGCM run and the Thule observations during the 1988 December solstice.   The TIEGCM winds are height integrated based on the 6300 Å emission profiles.    The TIEGCM and FPI winds show a good agreement in the zonal direction.     The TIEGCM meridional winds tend to have larger diurnal variations than that of FPI observations.    Mainly due to larger meridional wind variations, the simulated TIEGCM wind magnitudes are larger than those observed by the FPI.

Figure 6 plots the winds from the Eureka 1994 data and compares them with TIEGCM run results.  Again, the meridional winds tend to have large discrepancies than zonal winds.   The agreement in the zonal winds is quite remarkable.    The TIEGCM tends to predict larger southward winds.    The observed wind magnitudes are also smaller than the TIEGCM run results.   Figure 7 shows the 1999 Eureka data comparison with the TIEGCM run.   In this case, the meridional and zonal winds show similar agreements between observations and model.     Observations tend to show small peaks.

Figure 8 is for the Resolute 2004 winter season.  Wind variations are smaller in both the meridional and zonal components compared to Thule and Eureka.   Wind magnitudes are also smaller.  In general the agreement is better between the TIEGCM simulations and FPI observations in the zonal direction than in the meridional direction.   Figure 9 is for the 2006 winter season at Resolute.    The results are similar to that of the 2004.    The meridional winds show large discrepancies between the TIEGCM and FPI observations, but the agreement for the zonal component is excellent.    Wind magnitudes from the TIEGCM are in general larger than that observed by the FPI.

### 4. Analysis Result Comparisons

Figure 10 shows the least square fitting results from the observational data obtained at all stations for each of the winter seasons.   Using the TIEGCM simulation results for the 10 days centered at winter solstice, we select the simulation data under the condition of Kp < 2.  Then we perform the same least squares fit to the selected TIEGCM data to extract the background wind, diurnal and semidiurnal oscillations for comparison with the observation.    We should note that the TIEGCM selection is from the 10-day interval near the winter solstice, whereas the observation selection is from a much longer interval (200 day, not all have full 24-hour coverage).      We also plotted mean F10.7 index for all winters under good weather conditions when observations were made in Figure 10 for reference.

### 4.1 Diurnal Oscillation

The amplitude in the meridional wind from Thule shows a sharp increase in 88/89 winter season, while that of the zonal component did not.    A closer examination of the zonal wind data in 88/89 in Figure 4 shows an increase in diurnal oscillation in some data points, however, that was not enough to alter the results of the least squares fitting results.  The 88/89 peak in the meridional wind coincided with the solar maximum in the same year.   The Eureka data shows persistently high diurnal oscillation levels in both the meridional and zonal components compared to the Thule results.   We see a slight increase in 98/99 winter season.      The Resolute data show smaller amplitudes than these at Eureka.  Most of the meridional amplitude is similar to that of the zonal amplitude.    There appears to be a minimum during year 05/06, when the solar F10.7 index also reaches the bottom.

The amplitudes from the TIEGCM simulation show mostly consistent larger meridional oscillations than that of zonal oscillation (the thin solid-lines are higher than the dashed-lines).    The oscillations at the Thule and Eureka (red and blue lines) are larger than these at the Resolute (green lines) according to the TIEGCM simulation (blue- and red-lines are higher than the green-line).   The oscillation amplitudes at Thule and Eureka are very similar.  This is true for both the meridional and zonal components.    We also see a higher peak in 88/89 winter than that in 99/00 winter.

The TIEGCM simulation shows stronger oscillations than these from observation in general and particularly for the meridional component (solid-lines).   For Resolute the simulated TIEGCM amplitudes are comparable to these from the observation.

The observed phase of the meridional oscillation shows an approximately one-hour shift from Thule to Eureka and to Resolute in UT.   That is consistent with the local time shift for the three stations.    Large deviation from this trend is shown for 85/86 and 03/04 winter seasons.   During the 03/04 winter season, the absence of data in large local time section (12 to 24 UT) may be the cause of the large discrepancy.    The TIEGCM results also showed a roughly one-hour phase shift from Thule to Eureka and to Resolute in UT.   However, the TIEGCM show a one-hour phase difference with the observation.  That is consistent with the comparison show in Figures 6 to 9, in which the oscillation in data have a tendency to lead that in the model results.    Both the observation and simulation results display an approximately 6-hour phase offset between the meridional and zonal component, which is an evidence of wind vector rotation.

The observed phase of the oscillation in zonal direction shows large jumps at Thule (blue dotted-line), while the phase at other stations remain mostly stable.   At Eureka the observed phase of the zonal wind diurnal oscillation (red dotted-line) is shifted by one hour from the TIEGCM prediction (red dashed-line).   At Resolute the observed phase agree with the TIEGCM prediction very well.   Unlike that in the meridional winds, the zonal wind diurnal oscillation phase from the TIEGCM shows no phase shift between Eureka and Resolute, whereas the observation showed about one-hour phase difference.

### 4.2 Semidiurnal Oscillation

The observed meridional and zonal amplitudes show large fluctuations at Thule. The observed meridional and zonal oscillations at Eureka have small fluctuations and do not have high values shown at Thule.   The amplitudes in two wind components (thick green dotted- and solid-lines) at Resolute are greater than that at Eureka.  Large semidiurnal amplitude in 03/04 at Resolute was seen in the meridional winds.  For most part, the semidiurnal oscillation at Resolute does not change much in the meridional and zonal winds over the three winter seasons.

The TIEGCM results show relatively small variations in the amplitude at Resolute and Eureka during all winters in the meridional winds (thin red and green solid-lines).     The Resolute results have consistently large amplitudes than that from Eureka and Thule.       The Thule TIEGCM meridional results showed large jumps.  Overall, they are smaller than Resolute and Eureka results.     The TIEGCM zonal results (dashed-lines) show larger amplitudes at Thule and Resolute and smaller values at Eureka.    In general the zonal oscillation is smaller than that in the meridional component in the TIEGCM simulation.

The TIEGCM simulation is consistent with observation in two aspects: 1) Resolute has larger amplitudes than Eureka in both the meridional and zonal components; 2) The zonal oscillation amplitudes are comparable.

The phases of TIEGCM show similar time shifts from Resolute to Eureka, and to Thule.    The phase at Thule leads other two stations, which is in line with the local times of each of the stations.   The TIEGCM also shows consistent nearly 3-hour off set between the meridional and zonal winds (90 degree) indicating the semidiurnal oscillation is also a rotating oscillation like the diurnal oscillation.     Such consistent meridional and zonal component phase offset is not evident for all winters from observational results.

### 4. 3 Background Winds

Most of the background winds values (meridional and zonal) are limited to a range from -20 to 30 m/s for both the simulation and observations.     The exception is the winter 03/04 observation at Resolute, where large negative values were obtained from the least squares fitting.   Given the large data gap from 12 to 24 UT during that observational season, we can expect some bias in the fitting results.    The TIEGCM simulation show a larger meridional background winds at Resolute for all years and followed by Eureka (thin green and red solid-lines).    For the zonal component, we see larger background winds at Thule, followed by Eureka and Resolute (thin dashed lines).   Observational results appear to show slightly large backgrounds at Eureka for both the meridional and zonal components.  This is consistent with the TIEGCM simulation for the zonal component.

### 5. Discussion

There is no doubt that high latitude thermospheric winds are affected by the solar activity due to changes in the thermosphere temperatures and thus pressure gradients.     However, just how the thermospheric wind is connected to the solar activity was not precisely known.    Current knowledge is based on mostly the Thule data set alone.    In this study, we added Eureka and Resolute data.   Based on the Eureka and Thule data sets we can see an indication of correlation between the diurnal oscillation amplitudes in the meridional component and the F10.7 index.     However, when we combine all data together, we also notice significant inter-station differences.        We suspect that the cause for the difference is because Eureka is located at higher magnetic latitude than both Thule and Resolute.   At higher magnetic latitude, the station is in the fast antisunward transpolar flow converging area of two-cell convection pattern during most local times.  That leads to stronger antisunward wind and stronger diurnal oscillations in the meridional and zonal components at Eureka.  Thule and Resolute, on the other hand, tend to be nearer the centers of the convection cells on the dawn and dusk sides.    The wind magnitudes at the centers of convection cells are smaller, which reduces the wind magnitude overall.   On the other hand, because Resolute passes the convection cell centers at dawn and dusk, the Resolute data should see a stronger semidiurnal oscillation.   Conversely, the semidiurnal oscillation is small at Eureka, because it is far away from the convection cell centers.

To investigate the inter-station and solar dependence of the thermospheric winds, we use the NCAR TIEGCM 1.8 model to simulate thermospheric winds at three stations during the December solstice period for several years spread out during the twenty year period.   The comparison for each individual station shows a very good agreement in the zonal winds between the simulation and observation.   The simulation also showed large inter-station differences between Resolute and the other two stations, Eureka and Thule in terms of the meridional and zonal diurnal oscillation.    The simulation showed very small differences between Thule and Eureka.  Such inter-station differences are not quite same as we have observed.   Given the 5 degree grid size of the TIEGCM, it may not be able to fully resolve the inter-station difference between Thule and Eureka.   In fact, Thule and Eureka all fall into the same geographic latitudinal grid centered at 77.5° N while Resolute belongs to the grid at 72.5°N.    The model is correct in showing a relatively small diurnal oscillation in thermospheric winds at Resolute.   Hence, the model appears to confirm the cause of the inter-station differences is due to difference in magnetic latitutde.

On the semidiurnal tide, the TIEGCM predicts larger amplitudes at Resolute than that at the Eureka as shown by observations as we have explained earlier due to Resolute passing the centers of convection cells.    The simulation at Thule is not consistent with observations.   Observations show larger semidiurnal oscillation at Thule than that at Eureka, whereas the TIEGCM predicts the opposite.

The TIEGCM consistently predicts larger meridional diurnal and semidiurnal oscillations than those observed at the three stations.   That could be due to the forcing used in the model is more than what is needed.    Future adjustments in the model are under consideration.

Because we do not have a cross calibration between the three instruments at the same location and same time, we cannot rule out completely some systematic instrumental differences.  Given that the principle of the FPI measurement is well known and data processing is not model-dependent, such instrument differences should be very small.  Furthermore, we know that potential sources for systematic errors are errors in etalon gap and focal length of the focusing lens, which are all determined to very high accuracies.  Hence, we do not see an obvious cause for systematic errors in the instruments at this moment.  But it is curious to note that the inter-station differences from the TIEGCM are mostly consistent for Eureka and Resolute in terms of the amplitudes of the diurnal and semidiurnal oscillations and inconsistent with the Thule observations.    To fully resolve this issue, simultaneous observations at these three stations are needed.

### 6. Summary

We examined the solar dependences of the thermosphere dynamics based on 20 year observations of polar cap thermosphere winds.   The strong diurnal oscillations in the meridional and zonal components are a reflection of antisunward wind.   We summarize our results: 1) we see a clear association between the meridional diurnal oscillation in the  thermospheric wind and the F10.7 index in both observation and simulation; 2) The TIEGCM simulated Resolute and Eureka inter-station differences are mostly consistent with observation; 3) The diurnal oscillation at Eureka is stronger than that at Resolute according to both observation and simulation; 4) the semidiurnal oscillation at Resolute is stronger than that at Eureka based on data and model results; 5) the simulated meridional diurnal and semidiurnal oscillations are stronger than what was observed and future adjustments to the model are under consideration.

With the future deployment of AMISR, we anticipate the combined observations of the thermosphere winds and ion drift will shed more light on high latitude thermosphere and ionosphere coupling and the magnetosphere influence on the polar cap ionosphere.  Due to the complex nature of the high latitude thermospheric wind convection, it is highly desirable to have simultaneous observations from these three stations and higher resolution simulations from the TIEGCM in the future.

### Acknowledgments

The Resolute Fabry-Perot interferometer operation and analysis is supported by a grant from the National Science Foundation ATM 0334595.   The Resolute Early Polar Cap Observatory is operated and managed by SRI International with funding from the National Science Foundation's Upper Atmospheric Facilities Program. The National Center for Atmospheric Research is sponsored by the National Science Foundation.    The Eureka observatory is operated by the Atmospheric Environment Service of Canada.   The Thule operation was supported by both the National Science Foundation and Air Force to the University of Michigan.    Authors would like to thank Prof. J. Meriwether for his effort in the FPI operation in Thule.

### References

Aruliah, A. L., D. Rees, and A. Steen, 1991, Seasonal and solar-cycle variations in the high latitude thermospheric winds, Geophys. Res. Lett., 18, 1983-1986.

Aruliah, A. L., A. D. Farmer, and D. Rees, 1996, The seasonal behavior of high-latitude thermospheric winds and ion velocities observed over one solar cycle, J. Geophys. Res., 101, 15,701-15711.

Conde, M. and P. L. Dyson, 1995, Thermospheric horizontal winds above Mawson, Antarctica, Adv. Space Res., 16, (5)41-(5)52.

Emmert, J. T., M. L. Faivre, G. Hernandez, M. J. Jarvis, J. W. Meriwether, R. J. Niciejewski, D. P. Sipler, C. A. Tepley, 2006a, Climatologies, of nighttime upper thermospheric winds measured by ground-based Fabry-Perot interferometers during geomagnetically quiet conditions 1. local time, latitudinal, seasonal, and solar cycle dependence, J. Geophys. Res., 111, A12302, doi:10.1029/2006JA011948.

Emmert, J. T., G. Hernandez, M. J. Jarvis, J. W. Meriwether, R. J. Niciejewski, D. P. Sipler, S. Vennerstrom, 2006b, Climatologies, of nighttime upper thermospheric winds measured by ground-based Fabry-Perot interferometers during geomagnetically quiet conditions 2. High latitude circulation and interplanetary magnetic field dependence, J. Geophys. Res., 111, A12303, doi:10.1029/2007JA0114949.

Greet, P. A., M. G. Conde, P. L. Dyson, J. L. Innis, A. M. Breed, 1999, Thermospheric wind field over Mawson and Davis Antarctica; simultaneous observations by two Fabry-Perot spectrometers of λ 630 nm emission, J. Atmos. Solar-Terr. Phys., 61, 1025-1045.

Guo, W., F-region winds over the central polar cap, 2000.   Ph. D. Thesis, University of Saskatchewan, Saskatoon.

Heelis, R. A., J. K. Lowell, and R. W. Spiro, 1982,  A model of the high-latitutde ionosphere convection pattern, J. Geophys. Res., 87, 6339-6345.

Heelis, R. A., D. McEwen, and W. Guo, 2002, Ion and neutral motions observed in the winter polar upper atmosphere, J. Geophys. Res., 107, doi10.1029/2002JA009359.

Hernandez, G., F. G. McCormac, and R. W. Smith, 1990, Austral thermospheric wind circulation and interplanetary magnetic field orientation, J. Geophys. Res., 96, 5777-5783.

Hernandez, G. and R. G. Roble, 2003, simultaneous thermospheric observations during the geomagnetic storm of April 2002 from South Pole and Arrival Heights, Antarctica, Geophys. Res. Lett., 30, 1511, doi:10.1029/2003GL016878

Killeen, T. L., R. A. Heelis, P. B. Hays, N. W. Spencer, and W. B. Hanson, 1985, Neutral motions in the polar thermosphere for northward interplanetary magnetic field, Geophys. Res. Lett., 12, 159-162.

Killeen, T.  L., Y. –I. Won, R. J. Niciejewski, A. G. Burns, 1995, Upper thermosphere winds and temperatures in the geomagnetic polar cap: Solar cycle, geomagnetic activity, and interplanetary magnetic field dependencies, J. Geophys. Res., 100, 21,327-21342.

McCormac, F. G. and R. W. Smith, 1984, The influence of the interplanetary magnetic field Y-component on the ion and neutral motions in the polar thermosphere, Geophys. Res. Lett., 11, 935-938.

McCormac, F. G., T .L. Killeen, E. Gombosi, P. B. Hays, and N. W. Spencer, 1985, Configuration of the high-latitude thermosphere neutral circulation for IMF By negative and positive, Geophys. Res. Lett., 12, 155-158.

McCormac, F. G., T. L. Killeen, and J. P. Thayer, 1991, The influence of IMF By on the high-latitude thermospheric circulation during northward IMF, J. Geophys. Res., 96, 115-128.

Meriwether, J. W., C. A. Tepley, S. A. Price, P. B. Hays, L. L. Cogger, 1983, Remote ground-based observations of terrestrial airglow emissions and thermospheric dynamics at Calgary, Alberta, Canada, Optical Eng. 22, 128-131.

Meriwether, J. W., T. L. Killeen, F. G. McCormac,, and A. G. Burns, 1988, Thermospheric winds in the geomagnetic polar cap for solar minimum conditions, J. Geophys. Res., 93, 7478-7492.

Niciejewski, R. J., T. L. Killeen, and Y. Won, 1994, Observations of neutral winds in the polar cap during northward IMF, J. Atmos. Terr. Phys. 56, 285-295.

Richmond, A. D. and Y. Kamide, 1988, Mapping electrodynamic features of the high-latitude ionosphere from localized observations: Technique, J. Geophys. Res., 93, 5741-5759.

Richmond, A. D., E. C. Ridley, and R. G. Roble, 1992, A thermosphere/ionosphere general circulation model with coupled electrodynamics, Geophys. Res. Lett., 19, 601-604.

Smith, R. W., G. Hernandez, K. Price, G. Fraser, K. C. Clark, W. J. Schulz, S. Smith, 1994, The June 1991 thermospheric storm observed in  the Southern hemisphere, J. Geophys. Res., 98, 17,609-17615.

Thayer, J. P., G. Crowley, R. J. Niciejewski, T. L. Killeen, J. Buchau, and B. W. Reinisch, 1995, Ground-based observations of ion/neutral coupling at Thule and Qanaq, Greenland, J. Geophys. Res., 100, 12,189-12,199.

Won, Y.-L. 1994, Studies of thermospheric neutral winds utilizing ground-based optical and radar measurements, Ph.D.  thesis, Univ. of Michigan, Ann Arbor.

Witasse, O., J. Lilensten, and C. Lathuilere, and B. Pibaret, 1998, Meridional thermospheric neutral wind at high latitude over a full solar cycle, Ann. Geophys., 16, 1400-1409.

### Figure Captions

Figure 1. Location of Thule, Eureka, and Resolute

The locations of the Thule (T), Eureka (E), and Resolute (R) are plotted.   The magnetic latitudes from APL PACE program are also shown in the plot.

Figure 2. Thermosphere wind and F10.7 index coverage

The time coverage from Thule (blue), Eureka (red), and Resolute (green) are shown with F10.7 index from 1985 to 2006.

Figure 3.  Thule, Eureka, and Resolute Neutral Wind Data Survey Plots

The data from different stations in different years are plotted in the same format.   The Thermospheric wind meridional (upper panel) and zonal (lower panel) are shown in the plot.   The local midnight is the middle of the each panel.   The data coverage variation in local time is due to seasonal change of the length of nighttime in the northern polar region.   Large data gaps are mostly due to instrumental problems.  Short data gaps are weather related.   Hourly cloud coverage data are used to remove data taken during cloudy sky.

Figure 4. Geomagnetic Quiet Time Meridional and Zonal Wind Data and Least Squares Fit Results.

The left (right) side is for the meridional (zonal) component.   Data from all available years are plotted and analyzed.  The meridional and zonal wind data are selected when the sky condition is clear and Kp is less than 2.

Figure 5.  TIEGCM and Thule 1988 Comparison

TIEGCM Thermospheric winds from height integration with 6300 Å emission profile are plotted (line).  The observations from Fabry-Perot interferometer are plotted with error bars. The meridional (top), zonal (middle) and magnitude (lower) are shown in three panels.   Data gaps are mostly due to cloudy sky condition.

Figure 6. TIEGCM and Eureka 1994 Comparison

Same as Figure 5 for Eureka 1994.

Figure 7. TIEGCM and Eureka 1999 Comparison

Same as Figure 5 for Eureka 1999.

Figure 8. TIEGCM and Resolute 2004 Comparison

Same as Figure 5 for Resolute 2004.

Figure 9. TIEGCM and Resolute 2006 Comparison

Same as Figure 5 for Resolute 2006.

Figure 10. Thermospheric Wind Analysis Results and Comparison with Model Output

The least squares fit results of the observations and model simulations.   The Thule (blue), Eureka (red) and Resolute (Green) results are plotted in the figure.    The triangles linked with thick solid-lines are from the meridional wind observational results.    The diamonds linked with thick dotted-lines are from the zonal wind observational results.     The thin solid-lines (dashed-lines) are from the meridional (zonal) wind of TIEGCM simulation results for winter solstice of years 85, 88, 94, 99, 03, 04, 05, and 06.